Please write your comments below. Please indicate in the left-hand column which question you are responding to. This will help ensure that your response is considered correctly. Please continue on a separate page or sheet of paper if necessary.

| Question Number | Your Comments |
| --- | --- |
| Q5 | We attach our separate IDP response to Rother as part of our feedback to this Regulation 18 consultation on the Local Plan, requesting update of the IDP in accord with the information and explanations provided. This also includes our feedback from the previous 2024 Regulation 18 consultation, in addition to a full explanation of how Southern Water plans investment for adopted local plans. Included within this explanation are our key AMP8 (2025-2030) investment plans for the Rother district. Some plans extend into AMP9, but for the reasons we explain in our IDP response, most AMP9 schemes are not known at this time. There is considerable investment planned for the district in this 2025-2030 AMP8 period, supported by a range of technical disciplines. This represents the latest investment information and therefore supersedes the DWMP content referred to (as this DWMP work was concluded in 2023). |
| Q8 | For development to be sustainable, Southern Water believes that it must always deliver sustainable drainage. Communities need planning policy to go further as climate change now demands we re-think and re-design communities. More resilient and efficient homes are essential – conserving both energy and water. However, we also need to ensure that housing design/delivery will not mean that rainwater continues to run off surfaces so fast that it causes flooding and storm discharges into rivers and seas. By controlling the rate and volume of surface water entering the combined sewer network, sustainable urban drainage systems (SuDS) can improve existing flood risk and water quality. We need planning policy to encourage proactive, cross-sector collaboration, as well as requiring development to adhere to the principles of integrated water management in line with the National Standards for Sustainable Drainage (June 2025). The complexities and challenges of drainage need a collaborative approach between the responsible organisations, such as Local Authorities, Southern Water, the Environment Agency and community groups to adapt the urban environment to be more resilient to our changing weather patterns. Together, we need to separate rainwater from wastewater. |
| Q9 | For development to be sustainable, Southern Water believes that it must always deliver sustainable drainage. This will be particularly important in areas where higher housing densities are proposed. Communities need planning policy to go further as climate change now demands we re-think and re-design communities. More resilient and efficient homes are essential – conserving both energy and water. However, we also need to ensure that housing design/delivery will not mean that rainwater continues to run off surfaces so fast that it causes flooding and storm discharges into rivers and seas. By controlling the rate and volume of surface water entering the combined sewer network, sustainable urban drainage systems (SuDS) can improve existing flood risk and water quality. We need planning policy to encourage proactive, cross-sector collaboration, as well as requiring all development to adhere to the principles of integrated water management in line with the National Standards for Sustainable Drainage (June 2025). The complexities and challenges of drainage need a collaborative approach between the responsible organisations, such as Local Authorities, Southern Water, the Environment Agency and community groups to adapt the urban environment to be more resilient to our changing weather patterns. Together, we need to separate rainwater from wastewater. |
| Q10 | For development to be sustainable, Southern Water believes that it must always deliver sustainable drainage. This will be particularly important in areas where higher housing densities are proposed. Communities need planning policy to go further as climate change now demands we re-think and re-design communities. More resilient and efficient homes are essential – conserving both energy and water. However, we also need to ensure that housing design/delivery will not mean that rainwater continues to run off surfaces so fast that it causes flooding and storm discharges into rivers and seas. By controlling the rate and volume of surface water entering the combined sewer network, sustainable urban drainage systems (SuDS) can improve existing flood risk and water quality. We need planning policy to encourage proactive, cross-sector collaboration, as well as requiring all development to adhere to the principles of integrated water management in line with the National Standards for Sustainable Drainage (June 2025). The complexities and challenges of drainage need a collaborative approach between the responsible organisations, such as Local Authorities, Southern Water, the Environment Agency and community groups to adapt the urban environment to be more resilient to our changing weather patterns. Together, we need to separate rainwater from wastewater. |
| Q17 | Q17 - all BX sites. Please note that as we have already consulted on all existing allocated sites (in adding to offering LPA free consultations at planning application stage) we comment in this response on new/changed site allocation policies, where the site has not previously been allocated and planning applications have not yet been submitted. In addition to Rother consulting us on planning applications (for which we are not statutory consultees) so that we can share the results of more detailed checks made closer to the timeline of expected development, Southern Water request the addition of the following wording to all sites – “We also encourage early engagement by developers who can make use of Southern Water’s pre-planning service here – https://www.southernwater.co.uk/building-and-developing/planning-your-development/pre-planning-enquiries/. Early engagement will be particularly important for the larger site proposals, or where constraints are indicated due to critical assets running beneath sites.” Southern Water’s initial checks indicate that a number of the new/changed sites (BX6, BX7, BX22, 23, 24, 27, 28, BX31, 34, 36, 37, 38, 39 and BX41) may have limited local network capacity, and phasing of development may therefore be needed alongside network reinforcement prior to occupation of the total number of dwellings indicated in each policy. For these sites, and all those we’ve previously requested phasing wording (unless the detailed planning consultation responses we’ve provided indicate otherwise) please include the following wording: Occupation of development will be phased to align with the delivery of sewerage infrastructure, in consultation with the service provider. Also, Southern Water infrastructure crosses site BX9 and may require easements or diversion. For this site, and any we’ve previously requested layout wording please include the following wording: Layout of the development must be planned to ensure future access to existing sewerage infrastructure for maintenance and upsizing purposes. |
| Q19 | For development to be sustainable, Southern Water believes that it must always deliver sustainable drainage. This will be particularly important in areas where higher housing densities are proposed. Communities need planning policy to go further as climate change now demands we re-think and re-design communities. More resilient and efficient homes are essential – conserving both energy and water. However, we also need to ensure that housing design/delivery will not mean that rainwater continues to run off surfaces so fast that it causes flooding and storm discharges into rivers and seas. By controlling the rate and volume of surface water entering the combined sewer network, sustainable urban drainage systems (SuDS) can improve existing flood risk and water quality. We need planning policy to encourage proactive, cross-sector collaboration, as well as requiring all development to adhere to the principles of integrated water management in line with the National Standards for Sustainable Drainage (June 2025). The complexities and challenges of drainage need a collaborative approach between the responsible organisations, such as Local Authorities, Southern Water, the Environment Agency and community groups to adapt the urban environment to be more resilient to our changing weather patterns. Together, we need to separate rainwater from wastewater. |
| 26 | CR1 to CR3 Please note that as we have already consulted on all existing allocated sites (in adding to offering LPA free consultations at planning application stage) we comment in this response on new/changed site allocation policies, where the site has not previously been allocated and planning applications have not yet been submitted. However, we note that for site CR2 in particular, there is no wording in the site allocation policy to address the site’s proximity to an operational wastewater treatment works. In addition to Rother consulting us on planning applications (for which we are not statutory consultees) so that we can share the results of more detailed checks made closer to the timeline of expected development, Southern Water request the addition of the following wording for all sites – “We also encourage early engagement by developers who can make use of Southern Water’s pre-planning service here – https://www.southernwater.co.uk/building-and-developing/planning-your-development/pre-planning-enquiries/. Early engagement will be particularly important for the larger site proposals, or where constraints are indicated due to the close proximity to operational wastewater treatment works or where there are critical assets running beneath sites.” The proposed boundary to site CR2 is within 500m of Battle wastewater treatment works and we therefore request the additional wording – “The layout of development for any site allocation with 500m of an operational wastewater treatment works should be informed by an odour assessment to be undertaken in consultation with statutory wastewater operator for the works.” |
| 28 | GU1 & GU2 Please note that as we have already consulted on all existing allocated sites (in adding to offering LPA free consultations at planning application stage) we comment in this response on new/changed site allocation policies, where the site has not previously been allocated and planning applications have not yet been submitted. Southern Water has identified no potential capacity constraints for site GU2 at this Local Plan stage. For completeness, in addition to Rother consulting us on planning applications (for which we are not statutory consultees) so that we can share the results of more checks made closer to the timeline of expected development, Southern Water request the addition of the following wording – “We encourage early engagement by developers who can make use of Southern Water’s pre-planning service here – https://www.southernwater.co.uk/building-and-developing/planning-your-development/pre-planning-enquiries/. Southern Water infrastructure crosses GU2 and may require easements or diversion.” |
| 30 | GU4 & 5 Southern Water has identified no potential capacity constraints for these sites at this Local Plan stage. For completeness, in addition to Rother consulting us on planning applications (for which we are not statutory consultees) so that we can share the results of more checks made closer to the timeline of expected development, Southern Water request the addition of the following wording – “We encourage early engagement by developers who can make use of Southern Water’s pre-planning service here – https://www.southernwater.co.uk/building-and-developing/planning-your-development/pre-planning-enquiries/. Southern Water infrastructure crosses site GU5 and may require easements or diversion.For GU5, and any sites we’ve previously requested layout wording please also include the following wording: Layout of the development must be planned to ensure future access to existing sewerage infrastructure for maintenance and upsizing purposes. |
| 31 | GU6 Southern Water has identified no constraints for this site at this Local Plan stage. For completeness, in addition to Rother consulting us on planning applications (for which we are not statutory consultees) so that we can share the results of more checks made closer to the timeline of expected development, Southern Water request the addition of the following wording – “We encourage early engagement by developers who can make use of Southern Water’s pre-planning service here – https://www.southernwater.co.uk/building-and-developing/planning-your-development/pre-planning-enquiries/. |
| 32 | IK1&2 Southern Water has identified no potential capacity constraints for these sites at this Local Plan stage. For completeness, in addition to Rother consulting us on planning applications (for which we are not statutory consultees) so that we can share the results of more checks made closer to the timeline of expected development, Southern Water request the addition of the following wording – “We encourage early engagement by developers who can make use of Southern Water’s pre-planning service here – https://www.southernwater.co.uk/building-and-developing/planning-your-development/pre-planning-enquiries/. Southern Water infrastructure crosses site IK1 and may require easements or diversion. For IK1, and any sites we’ve previously requested layout wording please also include the following wording: Layout of the development must be planned to ensure future access to existing sewerage infrastructure for maintenance and upsizing purposes. |
| 34 | WS1 WS2, WS3 WS4 WS5 Please note that as we have already consulted on all existing allocated sites (in adding to offering LPA free consultations at planning application stage) we comment in this response on new/changed site allocation policies, where the site has not previously been allocated and planning applications have not yet been submitted. In addition to Rother consulting us on planning applications (for which we are not statutory consultees) so that we can share the results of more detailed checks made closer to the timeline of expected development, Southern Water request the addition of the following wording for all sites – “We also encourage early engagement by developers who can make use of Southern Water’s pre-planning service here – https://www.southernwater.co.uk/building-and-developing/planning-your-development/pre-planning-enquiries/.” Southern Water’s initial checks indicate that sites WS2 and WS3 may have limited local network capacity, and phasing of development may therefore be needed alongside network reinforcement prior to occupation of the total number of dwellings indicated in each policy. For these sites, and any we’ve previously requested phasing wording (unless the detailed planning consultation responses we’ve provided indicate otherwise) please include the following wording: Occupation of development will be phased to align with the delivery of sewerage infrastructure, in consultation with the service provider. Also, Southern Water infrastructure crosses site WS3 and may require easements or diversion. For WS3, and any sites we’ve previously requested layout wording please also include the following wording: Layout of the development must be planned to ensure future access to existing sewerage infrastructure for maintenance and upsizing purposes. |
| 36 | BT1 to BT11 (BT3, BT4, BT5, BT6) Please note that as we have already consulted on all existing allocated sites (in adding to offering LPA free consultations at planning application stage) we comment in this response on new/changed site allocation policies, where the site has not previously been allocated and planning applications have not yet been submitted. In addition to Rother consulting us on planning applications (for which we are not statutory consultees) so that we can share the results of more detailed checks made closer to the timeline of expected development, Southern Water request the addition of the following wording for all sites – “We also encourage early engagement by developers who can make use of Southern Water’s pre-planning service here – https://www.southernwater.co.uk/building-and-developing/planning-your-development/pre-planning-enquiries/. Early engagement will be particularly important for the larger site proposals, or where constraints are indicated due to the close proximity to operational wastewater treatment works or where there are critical assets running beneath sites.” The proposed boundary to this site is within 500m of Battle wastewater treatment works and we therefore request the additional wording – The layout of development for any site allocation with 500m of an operational wastewater treatment works should be informed by an odour assessment to be undertaken in consultation with statutory wastewater operator for the works. Southern Water’s initial checks indicate that sites BT1, BT2, BT7, BT9, BT10 and BT11 may have limited local network capacity, and phasing of development may therefore be needed alongside network reinforcement prior to occupation of the total number of dwellings indicated in each policy. For these sites, and any we’ve previously requested phasing wording (unless the detailed planning consultation responses we’ve provided indicate otherwise) please include the following wording: Occupation of development will be phased to align with the delivery of sewerage infrastructure, in consultation with the service provider. Also, Southern Water infrastructure crosses site BT11 and may require easements or diversion. For BT11, and any sites we’ve previously requested layout wording please also include the following wording: Layout of the development must be planned to ensure future access to existing sewerage infrastructure for maintenance and upsizing purposes. |
| 38 | CT1 CT2 CT3 Please note that as we have already consulted on all existing allocated sites (in adding to offering LPA free consultations at planning application stage) we comment in this response on new/changed site allocation policies, where the site has not previously been allocated and planning applications have not yet been submitted. Southern Water has identified no potential capacity constraints for these sites at this Local Plan stage. For completeness, in addition to Rother consulting us on planning applications (for which we are not statutory consultees) so that we can share the results of more checks made closer to the timeline of expected development, Southern Water request the addition of the following wording – “We encourage early engagement by developers who can make use of Southern Water’s pre-planning service here – https://www.southernwater.co.uk/building-and-developing/planning-your-development/pre-planning-enquiries/. Southern Water infrastructure may cross sites CT2 and CT3 and may require easements or diversion. For these sites, and any we’ve previously requested layout wording please also include the following wording: Layout of the development must be planned to ensure future access to existing sewerage infrastructure for maintenance and upsizing purposes. |
| 39 | NE1 & 2 Please note that as we have already consulted on all existing allocated sites (in adding to offering LPA free consultations at planning application stage) we comment in this response on new/changed site allocation policies, where the site has not previously been allocated and planning applications have not yet been submitted. |
| 40 | SD10 SD11 (SD1 to SD9) Please note that as we have already consulted on all existing allocated sites (in adding to offering LPA free consultations at planning application stage) we comment in this response on new/changed site allocation policies, where the site has not previously been allocated and planning applications have not yet been submitted. Southern Water has identified no potential capacity constraints for these sites at this Local Plan stage. For completeness, in addition to Rother consulting us on planning applications (for which we are not statutory consultees) so that we can share the results of more checks made closer to the timeline of expected development, Southern Water request the addition of the following wording – “We also encourage early engagement by developers who can make use of Southern Water’s pre-planning service here – https://www.southernwater.co.uk/building-and-developing/planning-your-development/pre-planning-enquiries/. Early engagement will be particularly important for the larger site proposals, or where constraints are indicated due to the close proximity to operational wastewater treatment works or where there are critical assets running beneath sites.” The proposed boundary to site SD11 (and as previously advised the for the existing site allocation SD7) is within 500m of Sedlescombe wastewater treatment works and we therefore request the following additional wording in these policies– The layout of development for any site allocation with 500m of an operational wastewater treatment works should be informed by an odour assessment to be undertaken in consultation with statutory wastewater operator for the works. |
| 42 | BC1 (BC2) BC3 Please note that as we have already consulted on all existing allocated sites (in adding to offering LPA free consultations at planning application stage) we comment in this response on new/changed site allocation policies, where the site has not previously been allocated and planning applications have not yet been submitted. Southern Water has identified no potential capacity constraints for these sites at this Local Plan stage. For completeness, in addition to Rother consulting us on planning applications (for which we are not statutory consultees) so that we can share the results of more checks made closer to the timeline of expected development, Southern Water request the addition of the following wording – “We encourage early engagement by developers who can make use of Southern Water’s pre-planning service here – https://www.southernwater.co.uk/building-and-developing/planning-your-development/pre-planning-enquiries/. Southern Water infrastructure crosses site BC3 and may require easements or diversion. For BC3, and any sites we’ve previously requested layout wording please also include the following wording: Layout of the development must be planned to ensure future access to existing sewerage infrastructure for maintenance and upsizing purposes. |
| 43 | (BR1) BR2 BR3 Please note that as we have already consulted on all existing allocated sites (in adding to offering LPA free consultations at planning application stage) we comment in this response on new/changed site allocation policies, where the site has not previously been allocated and planning applications have not yet been submitted. Southern Water has identified no potential capacity constraints for these sites at this Local Plan stage. For completeness, in addition to Rother consulting us on planning applications (for which we are not statutory consultees) so that we can share the results of more checks made closer to the timeline of expected development, Southern Water request the addition of the following wording – “We encourage early engagement by developers who can make use of Southern Water’s pre-planning service here – https://www.southernwater.co.uk/building-and-developing/planning-your-development/pre-planning-enquiries/. |
| 44 | CM1 to CM3 Please note that as we have already consulted on all existing allocated sites (in adding to offering LPA free consultations at planning application stage) we comment in this response on new/changed site allocation policies, where the site has not previously been allocated and planning applications have not yet been submitted. |
| 45 | (ID1) ID2 Please note that as we have already consulted on all existing allocated sites (in adding to offering LPA free consultations at planning application stage) we comment in this response on new/changed site allocation policies, where the site has not previously been allocated and planning applications have not yet been submitted. Southern Water has identified no potential capacity constraints for these sites at this Local Plan stage. For completeness, in addition to Rother consulting us on planning applications (for which we are not statutory consultees) so that we can share the results of more checks made closer to the timeline of expected development, Southern Water request the addition of the following wording – “We encourage early engagement by developers who can make use of Southern Water’s pre-planning service here – https://www.southernwater.co.uk/building-and-developing/planning-your-development/pre-planning-enquiries/. Southern Water infrastructure crosses site ID2 and may require easements or diversion. For ID2, and any sites we’ve previously requested layout wording please also include the following wording: Layout of the development must be planned to ensure future access to existing sewerage infrastructure for maintenance and upsizing purposes. |
| 46 | NR1 and NR2 Please note that as we have already consulted on all existing allocated sites (in adding to offering LPA free consultations at planning application stage) we comment in this response on new/changed site allocation policies, where the site has not previously been allocated and planning applications have not yet been submitted. Southern Water has identified no potential capacity constraints for this site (NR2) at this Local Plan stage. For completeness, in addition to Rother consulting us on planning applications (for which we are not statutory consultees) so that we can share the results of more checks made closer to the timeline of expected development, Southern Water request the addition of the following wording – “We encourage early engagement by developers who can make use of Southern Water’s pre-planning service here – https://www.southernwater.co.uk/building-and-developing/planning-your-development/pre-planning-enquiries/. Early engagement will be particularly important for the larger site proposals, or where constraints are indicated due to the close proximity to operational wastewater treatment works or where there are critical assets running beneath sites.” Additional policy wording is needed for each site to address it’s proximity to operational wastewater treatment works. The proposed boundary of each site is within 500m of an operational wastewater treatment works (Mill Corner Northiam WTW, and Quickbourne Lane Northiam WTW) and we therefore request the additional wording for each site policy – “The layout of development for any site allocation with 500m of an operational wastewater treatment works should be informed by an odour assessment to be undertaken in consultation with statutory wastewater operator for the works.” Also, Southern Water infrastructure crosses site NR2 and may require easements or diversion. For NR2, and any sites we’ve previously requested layout wording please also include the following wording: Layout of the development must be planned to ensure future access to existing sewerage infrastructure for maintenance and upsizing purposes. |
| 47 | PE1, 2 & 3 (PE4 & PE5) Please note that as we have already consulted on all existing allocated sites (in adding to offering LPA free consultations at planning application stage) we comment in this response on new/changed site allocation policies, where the site has not previously been allocated and planning applications have not yet been submitted. Southern Water has identified no constraints for these sites at this Local Plan stage. For completeness, in addition to Rother consulting us on planning applications (for which we are not statutory consultees) so that we can share the results of more checks made closer to the timeline of expected development, Southern Water request the addition of the following wording – “We also encourage early engagement by developers who can make use of Southern Water’s pre-planning service here – https://www.southernwater.co.uk/building-and-developing/planning-your-development/pre-planning-enquiries/. Early engagement will be particularly important for the larger site proposals, or where constraints are indicated due to the close proximity to operational wastewater treatment works or where there are critical assets running beneath sites.” |
| 49 | (RY1 to RY1, RY7&8) RY5, RY6 & RY9 Please note that as we have already consulted on all existing allocated sites (in adding to offering LPA free consultations at planning application stage) we comment in this response on new/changed site allocation policies, where the site has not previously been allocated and planning applications have not yet been submitted. In addition to Rother consulting us on planning applications (for which we are not statutory consultees) so that we can share the results of more detailed checks made closer to the timeline of expected development, Southern Water request the addition of the following wording for all sites – “We also encourage early engagement by developers who can make use of Southern Water’s pre-planning service here – https://www.southernwater.co.uk/building-and-developing/planning-your-development/pre-planning-enquiries/. Southern Water’s initial checks indicate that sites RY5 and RY9 may have limited local network capacity, and phasing of development may therefore be needed alongside network reinforcement prior to occupation of the total number of dwellings indicated in each policy. For these sites, and any we’ve previously requested phasing wording (unless the detailed planning consultation responses we’ve provided indicate otherwise) please include the following wording: Occupation of development will be phased to align with the delivery of sewerage infrastructure, in consultation with the service provider. Southern Water infrastructure crosses sites RY5, RY6 and RY9 and may require easements or diversion. For these sites, and any we’ve previously requested layout wording please also include the following wording: Layout of the development must be planned to ensure future access to existing sewerage infrastructure for maintenance and upsizing purposes. |
| 50 | RH1 Please note that as we have already consulted on all existing allocated sites (in adding to offering LPA free consultations at planning application stage) we comment in this response on new/changed site allocation policies, where the site has not previously been allocated and planning applications have not yet been submitted. |
| 53 | BW1 to 4 In addition to Rother consulting us on planning applications (for which we are not statutory consultees) so that we can share the results of more detailed checks made closer to the timeline of expected development, Southern Water request the addition of the following wording for all sites – “We also encourage early engagement by developers who can make use of Southern Water’s pre-planning service here – https://www.southernwater.co.uk/building-and-developing/planning-your-development/pre-planning-enquiries/. Southern Water’s initial checks indicate that site BW1 may have limited local network capacity, and phasing of development may therefore be needed alongside network reinforcement prior to occupation of the total number of dwellings indicated in each policy. For this site, and any we’ve previously requested phasing wording (unless the detailed planning consultation responses we’ve provided indicate otherwise) please include the following wording: Occupation of development will be phased to align with the delivery of sewerage infrastructure, in consultation with the service provider. Please note that Southern Water wastewater sewers cross all BW sites (BW1 to 4) and may require easements or diversion (so please note that whilst we agree that consultation with Southern Water will be required, it may not be necessary for the developer to deliver a package treatment plant as currently stated in part Xi of the policy. Were the developer to want to deliver such plant they will first need to consult with the Environment Agency). For these sites, and any we’ve previously requested layout wording please also include the following wording: Layout of the development must be planned to ensure future access to existing sewerage infrastructure for maintenance and upsizing purposes. |
| 54 | BWC1 and 2 Southern Water has identified no constraints for these sites at this Local Plan stage. For completeness, in addition to Rother consulting us on planning applications (for which we are not statutory consultees) so that we can share the results of more checks made closer to the timeline of expected development, Southern Water request the addition of the following wording – “We encourage early engagement by developers who can make use of Southern Water’s pre-planning service here – https://www.southernwater.co.uk/building-and-developing/planning-your-development/pre-planning-enquiries/. |
| 55 | EC1 to 3 Southern Water has identified no potential capacity constraints for these sites at this Local Plan stage. For completeness, in addition to Rother consulting us on planning applications (for which we are not statutory consultees) so that we can share the results of more checks made closer to the timeline of expected development, Southern Water request the addition of the following wording – “We encourage early engagement by developers who can make use of Southern Water’s pre-planning service here – https://www.southernwater.co.uk/building-and-developing/planning-your-development/pre-planning-enquiries/. Southern Water infrastructure crosses site EC1 and may require easements or diversion. For EC1, and any sites we’ve previously requested layout wording please also include the following wording: Layout of the development must be planned to ensure future access to existing sewerage infrastructure for maintenance and upsizing purposes. |
| 56 | (HG1&2) HG3 & 4 Please note that as we have already consulted on all existing allocated sites (in adding to offering LPA free consultations at planning application stage) we comment in this response on new/changed site allocation policies, where the site has not previously been allocated and planning applications have not yet been submitted. In addition to Rother consulting us on planning applications (for which we are not statutory consultees) so that we can share the results of more detailed checks made closer to the timeline of expected development, Southern Water request the addition of the following wording for all sites – “We also encourage early engagement by developers who can make use of Southern Water’s pre-planning service here – https://www.southernwater.co.uk/building-and-developing/planning-your-development/pre-planning-enquiries/.” Southern Water’s initial checks indicate that site HG4 may have limited local network capacity, and phasing of development may therefore be needed alongside network reinforcement prior to occupation of the total number of dwellings indicated in each policy. For this site, and any we’ve previously requested phasing wording (unless the detailed planning consultation responses we’ve provided indicate otherwise) please include the following wording: Occupation of development will be phased to align with the delivery of sewerage infrastructure, in consultation with the service provider. Southern Water infrastructure crosses site HG3 and may require easements or diversion. For HG3, and any sites we’ve previously requested layout wording please also include the following wording: Layout of the development must be planned to ensure future access to existing sewerage infrastructure for maintenance and upsizing purposes. |
| 57 | RB1, RB3, RB4 (RB2, RB5) to RB6a & RB6b Please note that as we have already consulted on all existing allocated sites (in adding to offering LPA free consultations at planning application stage) we comment in this response on new/changed site allocation policies, where the site has not previously been allocated and planning applications have not yet been submitted. Southern Water has identified no potential capacity constraints for these sites at this Local Plan stage. For completeness, in addition to Rother consulting us on planning applications (for which we are not statutory consultees) so that we can share the results of more checks made closer to the timeline of expected development, Southern Water request the addition of the following wording – “We also encourage early engagement by developers who can make use of Southern Water’s pre-planning service here – https://www.southernwater.co.uk/building-and-developing/planning-your-development/pre-planning-enquiries/. Early engagement will be particularly important for the larger site proposals, or where constraints are indicated due to the close proximity to operational wastewater treatment works or where there are critical assets running beneath sites.” The proposed boundary to sites R3 and R4 (and also as will have been previously advised the boundary to existing site allocation RB2) are all within 500m of Robertsbridge wastewater treatment works and we therefore request the following additional wording for these policies– “The layout of development for any site allocation with 500m of an operational wastewater treatment works should be informed by an odour assessment to be undertaken in consultation with statutory wastewater operator for the works.” Also, Southern Water infrastructure crosses sites RB3, and RB5 and may require easements or diversion. For these sites, and any we’ve previously requested layout wording please also include the following wording: Layout of the development must be planned to ensure future access to existing sewerage infrastructure for maintenance and upsizing purposes. |
| 58 | SC1 & 2 Southern Water has identified no potential capacity constraints for these sites at this Local Plan stage. For completeness, in addition to Rother consulting us on planning applications (for which we are not statutory consultees) so that we can share the results of more checks made closer to the timeline of expected development, Southern Water request the addition of the following wording – “We encourage early engagement by developers who can make use of Southern Water’s pre-planning service here – https://www.southernwater.co.uk/building-and-developing/planning-your-development/pre-planning-enquiries/. Southern Water infrastructure crosses site SC1 and may require easements or diversion. For SC1, and any sites we’ve previously requested layout wording please also include the following wording: Layout of the development must be planned to ensure future access to existing sewerage infrastructure for maintenance and upsizing purposes. |
| 59 | FW1 to FW3 Southern Water’s initial checks indicate that site FW2 may have limited local network capacity, and phasing of development may therefore be needed alongside network reinforcement prior to occupation of the total number of dwellings indicated in each policy. In addition to Rother consulting us on planning applications (for which we are not statutory consultees) so that we can share the results of more detailed checks made closer to the timeline of expected development, Southern Water request the addition of the following wording for all sites – “We also encourage early engagement by developers who can make use of Southern Water’s pre-planning service here – https://www.southernwater.co.uk/building-and-developing/planning-your-development/pre-planning-enquiries/.” Southern Water infrastructure crosses site FW2 and may require easements or diversion. For FW2, and any sites we’ve previously requested layout wording please also include the following wording: Layout of the development must be planned to ensure future access to existing sewerage infrastructure for maintenance and upsizing purposes. |
| 60 | TC1 (or 2) Please note that as we have already consulted on all existing allocated sites (in adding to offering LPA free consultations at planning application stage) we comment in this response on new/changed site allocation policies, where the site has not previously been allocated and planning applications have not yet been submitted. Southern Water’s initial checks indicate that site TC1 may have limited local network capacity, and phasing of development may therefore be needed alongside network reinforcement prior to occupation of the total number of dwellings indicated in each policy. In addition to Rother consulting us on planning applications (for which we are not statutory consultees) so that we can share the results of more detailed checks made closer to the timeline of expected development, Southern Water request the addition of the following wording for all sites – “We also encourage early engagement by developers who can make use of Southern Water’s pre-planning service here – https://www.southernwater.co.uk/building-and-developing/planning-your-development/pre-planning-enquiries/.” Southern Water infrastructure also crosses site TC1 and may require easements or diversion. For TC1, and any sites we’ve previously requested layout wording please also include the following wording: Layout of the development must be planned to ensure future access to existing sewerage infrastructure for maintenance and upsizing purposes. |
| 62 | SG1 or 2 Southern Water has identified no potential capacity constraints for these sites at this Local Plan stage. For completeness, in addition to Rother consulting us on planning applications (for which we are not statutory consultees) so that we can share the results of more checks made closer to the timeline of expected development, Southern Water request the addition of the following wording – “We encourage early engagement by developers who can make use of Southern Water’s pre-planning service here – https://www.southernwater.co.uk/building-and-developing/planning-your-development/pre-planning-enquiries/. Early engagement will be particularly important for the larger site proposals, or where constraints are indicated due to the close proximity to operational wastewater treatment works or where there are critical assets running beneath sites.” The proposed boundaries to each site are within 500m of Stonegate wastewater treatment works and we therefore request the following additional wording for these policies– “The layout of development for any site allocation with 500m of an operational wastewater treatment works should be informed by an odour assessment to be undertaken in consultation with statutory wastewater operator for the works.” Southern Water infrastructure crosses these sites and may require easements or diversion. For these sites please therefore also include the following wording: Layout of the development must be planned to ensure future access to existing sewerage infrastructure for maintenance and upsizing purposes. |
| Q64 | GYP1 to GYP6 Southern Water’s initial checks indicate that some of the GYP sites are proposed within 500m of operational wastewater treatment works. For example, the boundary to site GYP6 is within 500m of Robertsbridge WTW. We therefore request Rother consult us on planning applications for all sites so that we can share the results of more detailed checks with the authority. Southern Water also request the addition of the following wording for all sites – “We encourage early engagement by developers who can make use of Southern Water’s pre-planning service here – https://www.southernwater.co.uk/building-and-developing/planning-your-development/pre-planning-enquiries/. Early engagement will be particularly important for the larger site proposals, or where constraints are indicated due to the close proximity to operational wastewater treatment works or where there are critical assets running beneath sites.” And for each site proposed within 500m of operational wastewater treatment works (eg GYP6) please include the following additional wording; “The layout of ‘sensitive residences’ for any site allocation within 500m of an operational wastewater treatment works should be informed by an odour assessment to be undertaken in consultation with statutory wastewater operator for the works.” |
| Q69 | Any other issues or comments? All site allocations should be proposed in locations where utilities can provide for the forecasted needs of the development without prejudicing existing or future utility provision necessary to support growth. Southern Water therefore requests the following additional policy wording in the Regulation 19 draft of the Local Plan: The utility network should be protected and development proposals that would compromise existing utilities infrastructure, or encroach on future connections for utilities, will be refused. Opportunities should be sought to safeguard the provision of utilities wherever possible. |